## Slide 1: Connection Layout
Tiffany Liu 03/29/2023

## Slide 2
18 12 B1 A1 7 21 GND
17 B5* GND 10 22 6*
IDC- IDC+
IDC- IDC+
TF
STI
STM
STO
TOP
DOOR
TF
TF
STI
STM
STO
TOP
DOOR
TF
11
B3
1
B7
8
B2
15
B6 (large capacitance to B7 and B3)
14
16
A3
24
B4
3
A2
13
1
SR830
16
SR830
14
15 (open,ay)/23 (close,ax)
1
3
SR830
20
SR830
18
13(open,ay)/21
(close,ax)
3
Emitter
DAC
Breakout Box
DAC
Breakout Box
Collector
12 8
2, 23
STIBiasC = 2 (STI bias tee box)
STOBiasC = 22 ( STO bias tee box)
Filament top plate = 5, note: don’t use DAC port 17 (short to ground)
19,20
9
5
4
*when connecting do 2 with 20
SMALL GLASS DEWAR
STIBiasE = 11 (STI bias tee box)
STOBiasE= 24 ( STO bias tee box)
doorE/C_close = ax
doorE/C_open = ay
Aux 3,4=Vee, 10=Vee, Aux 1,2=Vdd
* Short to ground

## Slide 3
Emitter Side | Breakout Box | DAC
Top Metal | 8 | 14
STO | B7 | 24
STI | B3 | 11
STM | 1 | 16
Door | B2 | 15 (open)/23 (close)
Collector Side | Breakout Box | DAC
Top Metal | 3 | 18
STO | B4 | 22
STI | A3 | 2
STM | 24 | 20
Door | A2 | 13 (open)/21 (close)

## Slide 4
Grounding
  Nice to have a table top rack so instruments (i.e. metal surfaces) aren’t touching each other
  Earth ground
  USB not great, find usb to ethernet connector (cat)
Insulator
  charging
  Defects, tunneling,
  How this ties into large voltages
Think about using much smaller voltages, see how it looks like in walk on spheres calculation

## Slide 5
B1 2 B2 4 B3 6 18
B7 8 20 10 11 12
IDC- IDC+
IDC- IDC+
TF
STI
STM
STO
TOP
DOOR
TF
TF
STI
STM
STO
TOP
DOOR
TF
B4
7
B5
21
B6
9
23
19
5
A3
3
A2
1
A1
Emitter
DAC
Breakout Box
DAC
Breakout Box
Collector
12 8
14, 16
STIBiasC = 2 (STI bias tee box)
STOBiasC = 22 ( STO bias tee box)
Filament top plate DAC = 5, note: don’t use DAC port 17 (short to ground)
15,17
22
24
13
*when connecting do 14 with 15
BIG GLASS DEWAR
Aux 3,4=Vee, 10=Vee, Aux 1,2=Vdd
STIBiasE = 11 (STI bias tee box)
STOBiasE= 24 ( STO bias tee box)
doorE/C_close = ax
doorE/C_open = ay
3
SR830
20
SR830
18
13(open,ay)/21
(close,ax)
3
1
SR830
16
SR830
14
15(open,ay)/23(close,ax)
1

## Slide 6
B2 2 A2 4 B5 6 18
B7 8 20 10 11 12
IDC- IDC+
IDC- IDC+
TF
STI
STM
STO
TOP
DOOR
TF
TF
STI
STM
STO
TOP
DOOR
TF
B3
7
A3
21
B6
9
23
19
5
B4
3
A1
1
B1
Emitter
DAC
Breakout Box
DAC
Breakout Box
Collector
12 8
14, 15
STIBiasC = 2 (STI bias tee box)
STOBiasC = 22 ( STO bias tee box)
Filament top plate DAC = 5, note: don’t use DAC port 17 (short to ground)
16,17
22
24
13
*when connecting do 14 with 16
BIG GLASS DEWAR (RF)
Aux 3,4=Vee, 10=Vee, Aux 1,2=Vdd
STIBiasE = 11 (STI bias tee box)
STOBiasE= 24 ( STO bias tee box)
doorE/C_close = ax
doorE/C_open = ay
3
SR830
20
SR830
18
13(open,ay)/21
(close,ax)
3
1
SR830
16
SR830
14
15(open,ay)/23(close,ax)
1

## Slide 7
Emitter Side | Breakout Box | DAC
Top Metal | B6 | 14
STO | 21 | 24
STI | 7 | 11
STM | A3 | 16
Door | 9 | 15 (open)/23 (close)
TF | B3,23 | 1
Collector Side | Breakout Box | DAC
Top Metal | A1 | 18
STO | 3 | 22
STI | 5 | 2
STM | B4 | 20
Door | 1 | 13 (open)/21 (close)
TF | 19,B1 | 3

## Slide 8: Wigner

## Slide 9
B2 2 A2 4 B5 6 18
B7 8 20 10 11 12
IDC- IDC+
IDC- IDC+
TF
STI
STM
STO
TOP
DOOR
TF
TF
STI
STM
STO
TOP
DOOR
TF
B3
7
A3
21
B6
9
23
19
5
B4
3
A1
1
B1
Emitter
DAC
Breakout Box
DAC
Breakout Box
Collector
12(DAC) 8(DAC)
SIM900 (ng,nf) SIM900 (ng,nf)
14, 15
BiasC = 2 (bias tee box)
Filament top plate DAC = 5, note: don’t use DAC port 17 (short to ground)
16,17
22
24
13
*when connecting do 14 with 16
BIG GLASS DEWAR (RF)
Aux 3,4=Vee, 10=Vee, Aux 1,2=Vdd
BiasE = 11 (bias tee box)
doorE/C_close = ax
doorE/C_open = ay
3
SR830 (current in)
SR830
SR830
18
13(open,ay)/21
(close,ax)
3
1
SR830 (sine out)
SR830
SR830
14
15(open,ay)/23(close,ax)
1